## Blank Temperature Log Template
Temperature Log Template Designed by Spreadsheet Daddy
Date | Time | Location/Equipment | Temperature | Acceptable Range | Status | Recorded By | Notes

## Temperature Log Template Exampl
Temperature Log Template Designed by Spreadsheet Daddy
Date | Time | Location/Equipment | Temperature | Acceptable Range | Status | Recorded By | Notes
2026-08-01 | 8:00 | Walk-in Cooler | 3.4°C | 1°C–4°C | Within Range | Emma Johnson | Morning check completed
2026-08-01 | 8:05 | Freezer #1 | -18.6°C | -23°C to -18°C | Within Range | Emma Johnson | Normal operation
2026-08-01 | 8:10 | Reach-in Refrigerator | 4.8°C | 1°C–5°C | Within Range | Emma Johnson | Temperature stable
2026-08-01 | 12:00 | Walk-in Cooler | 4.3°C | 1°C–4°C | Out of Range | Michael Davis | Door left open briefly; rechecked later
2026-08-01 | 12:05 | Freezer #1 | -19.2°C | -23°C to -18°C | Within Range | Michael Davis | No issues
2026-08-01 | 12:10 | Display Refrigerator | 5.1°C | 2°C–5°C | Out of Range | Michael Davis | Thermostat adjusted
2026-08-01 | 16:00 | Walk-in Cooler | 3.7°C | 1°C–4°C | Within Range | Sarah Wilson | Temperature returned to normal
2026-08-01 | 16:05 | Freezer #2 | -20.1°C | -23°C to -18°C | Within Range | Sarah Wilson | Operating correctly
2026-08-02 | 8:00 | Walk-in Cooler | 3.2°C | 1°C–4°C | Within Range | Emma Johnson | Routine morning reading
2026-08-02 | 8:05 | Reach-in Refrigerator | 4.2°C | 1°C–5°C | Within Range | Emma Johnson | All products properly chilled
2026-08-02 | 8:10 | Ice Machine | -2.0°C | -5°C to 0°C | Within Range | Emma Johnson | Ice production normal
2026-08-02 | 12:00 | Display Refrigerator | 4.9°C | 2°C–5°C | Within Range | Michael Davis | No action required
2026-08-02 | 12:05 | Dry Storage Room | 21.5°C | 18°C–24°C | Within Range | Michael Davis | Temperature acceptable
2026-08-02 | 16:00 | Walk-in Freezer | -17.5°C | -23°C to -18°C | Out of Range | Sarah Wilson | Service request submitted
2026-08-02 | 16:10 | Walk-in Freezer | -18.9°C | -23°C to -18°C | Corrected | Sarah Wilson | Temperature normalized after adjustment
2026-08-03 | 8:00 | Beverage Cooler | 3.8°C | 2°C–5°C | Within Range | Emma Johnson | Routine inspection completed
2026-08-03 | 8:05 | Pharmacy Refrigerator | 4.5°C | 2°C–8°C | Within Range | Emma Johnson | Medications stored correctly
2026-08-03 | 12:00 | Server Room | 22.0°C | 18°C–24°C | Within Range | Michael Davis | HVAC system operating normally