## Blank Construction Quality Cont
Construction Quality Control Checklist Template Designed by Spreadsheet Daddy
Inspection Item | Category | Assigned To | Inspection Date | Completed | Notes
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE

## Construction Quality Control Ch
Construction Quality Control Checklist Template Designed by Spreadsheet Daddy
Inspection Item | Category | Assigned To | Inspection Date | Completed | Notes
Verify concrete mix and placement | Concrete | Mark Johnson | 2026-08-10 | TRUE | Mix and placement records reviewed
Inspect reinforcement before concrete pour | Structural | Sarah Miller | 2026-08-10 | TRUE | Reinforcement installed according to plans
Check formwork alignment and dimensions | Concrete | David Wilson | 2026-08-11 | TRUE | Measurements within approved tolerances
Inspect structural connections | Structural | James Brown | 2026-08-11 | FALSE | Two connections require additional inspection
Verify wall dimensions and layout | Structural | Emily Davis | 2026-08-12 | TRUE | Dimensions match approved drawings
Inspect electrical conduit installation | Electrical | Robert Taylor | 2026-08-12 | TRUE | Conduit routes verified
Check electrical connections | Electrical | Lisa Anderson | 2026-08-13 | FALSE | Final connection inspection pending
Inspect plumbing supply lines | Plumbing | Michael Thomas | 2026-08-13 | TRUE | Connections checked for leaks
Verify drainage pipe installation | Plumbing | Daniel White | 2026-08-14 | TRUE | Pipe slope verified
Inspect HVAC ductwork | HVAC | Jennifer Martin | 2026-08-14 | FALSE | One section requires adjustment
Check HVAC equipment installation | HVAC | Kevin Harris | 2026-08-15 | TRUE | Equipment securely installed
Inspect roof membrane installation | Roofing | Amanda Clark | 2026-08-15 | TRUE | Membrane installation completed
Check waterproofing in wet areas | Waterproofing | Brian Lewis | 2026-08-16 | FALSE | Reinspection required after corrective work
Inspect door and window installation | Finishing | Rachel Walker | 2026-08-17 | TRUE | Frames aligned and sealed
Check flooring installation | Flooring | Thomas Hall | 2026-08-17 | TRUE | Flooring inspected for visible defects
Inspect wall and ceiling finishes | Finishing | Mark Johnson | 2026-08-18 | FALSE | Minor finishing corrections identified
Verify material delivery records | Materials | Sarah Miller | 2026-08-18 | TRUE | Materials matched approved specifications
Inspect exterior site work | Site Work | David Wilson | 2026-08-19 | TRUE | Grading and drainage reviewed
Review corrective actions from previous inspection | Quality Control | James Brown | 2026-08-20 | FALSE | Two outstanding items remain
Complete final quality control inspection | Quality Control | Emily Davis | 2026-08-21 | FALSE | Final inspection scheduled after corrections
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE