## Blank Fire Extinguisher Checkli
Fire Extinguisher Checklist Template Designed by Spreadsheet Daddy
Inspection Item | Location | Extinguisher Type | Assigned To | Inspection Date | Condition | Completed | Notes
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE

## Fire Extinguisher Checklist Tem
Fire Extinguisher Checklist Template Designed by Spreadsheet Daddy
Inspection Item | Location | Extinguisher Type | Assigned To | Inspection Date | Condition | Completed | Notes
Extinguisher is in designated location | Main Entrance | ABC Dry Chemical | Mark Wilson | 2026-08-17 | Good | TRUE | Properly mounted
Access area is clear | Reception | ABC Dry Chemical | Sarah Miller | 2026-08-17 | Good | TRUE | No obstructions
Safety pin is present | Reception | ABC Dry Chemical | Sarah Miller | 2026-08-17 | Good | TRUE | Pin intact
Tamper seal is intact | Conference Room | CO2 | James Carter | 2026-08-17 | Good | TRUE | Seal intact
Pressure indicator is in appropriate range | Conference Room | ABC Dry Chemical | James Carter | 2026-08-17 | Good | TRUE | Indicator in green zone
Hose or nozzle is in good condition | Kitchen | Wet Chemical | Olivia Brown | 2026-08-17 | Good | TRUE | No visible damage
Cylinder shows no visible damage | Kitchen | Wet Chemical | Olivia Brown | 2026-08-17 | Good | TRUE | Cylinder in good condition
Inspection tag is present and legible | Break Room | ABC Dry Chemical | Daniel Taylor | 2026-08-17 | Good | TRUE | Tag clearly visible
Service date is current | Break Room | ABC Dry Chemical | Daniel Taylor | 2026-08-17 | Good | TRUE | Service date current
Extinguisher is properly mounted | Hallway A | ABC Dry Chemical | Emily Clark | 2026-08-17 | Good | TRUE | Mounting bracket secure
Access area is clear | Hallway B | ABC Dry Chemical | Emily Clark | 2026-08-17 | Needs Attention | FALSE | Storage box partially blocks access
Safety pin is present | Warehouse | ABC Dry Chemical | Robert Lewis | 2026-08-17 | Good | TRUE | Pin intact
Tamper seal is intact | Warehouse | ABC Dry Chemical | Robert Lewis | 2026-08-17 | Good | TRUE | Seal intact
Pressure indicator is in appropriate range | Loading Area | ABC Dry Chemical | Amanda White | 2026-08-17 | Service Required | FALSE | Pressure indicator below normal range
Hose or nozzle is in good condition | Loading Area | ABC Dry Chemical | Amanda White | 2026-08-17 | Good | TRUE | No damage observed
Cylinder shows no visible damage | Server Room | CO2 | David Harris | 2026-08-17 | Good | TRUE | Cylinder inspected
Inspection tag is present and legible | Server Room | CO2 | David Harris | 2026-08-17 | Good | TRUE | Tag legible
Service date is current | Electrical Room | CO2 | Sophia Martin | 2026-08-17 | Good | TRUE | Service date current
Extinguisher is properly mounted | Electrical Room | CO2 | Sophia Martin | 2026-08-17 | Good | TRUE | Bracket secure
Access area is clear | Maintenance Room | ABC Dry Chemical | William Clark | 2026-08-17 | Good | TRUE | Area clear and accessible
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE